## OPTION 81 CORE
CORE FOR OPT 81
slot | card type | part code | release
pwr | CE power supply
0
1
2
3 |  |  |  | CORE 0
4 | reserved for
5 | future use
6 | clock controller
7 | 3PE
8
9
10
11
12
13
14 | call processor
15
16 | I/O processor
17
18 | CMDU
slot | card type | part code | release
pwr | CE power supply
0
1
2
3
4 | reserved for |  |  | CORE 1
5 | future use
6 | clock controller
7 | 3PE
8
9
10
11
12
13
14 | call processor
15
16 | I/O processor
17
18 | CMDU

## POWER
MERIDIAN DC POWER ( If applicable )
| RESERVE POWER SUPPLIES | SERIAL NUMBERS | QTY.
C&C Instrumentation (PS2008)
Cont'd
Meridian "M" Power
Cont'd
Other
RECTIFIERS
Number of Rectifiers
Type of Rectifier/Manufacturer
Cont'd
Cont'd
Rectifier Serial Numbers
Cont'd
Cont'd
BATTERIES
Number of batteries (per cabinet)
Battery type
Battery Manufacture Date
Hours Standby (if known)
Comments ( Power section )
MISCELLANEOUS ( Tick or enter quantity )
| ITEM | COMMENTS | QTY.
Spare fuses etc.
List any Additional Spares e.g PSU's / Line cards,cables etc.

## OPTION 71 CORE (2)
CPU FOR OPT 71
slot | card type | part code | release
pwr | CE power supply
1
2
3 | cma |  |  | CPU 0
4 | cpu interface
5 | cpu function |  |  | note--used for parallel reload only
6 | sdi (see note)
7 | msi/fdi
8
9
10
11
12
13 | sdi (see note)
14 | clock controller
15
slot | card type | part code | release
pwr | CE power supply
1
2
3 | cma
4 | cpu interface
5 | cpu function |  |  | CPU 1
6 | sdi (see note)
7 |  |  |  | note--used for parallel reload only
8
9
10
11
12
13 | sdi (see note)
14 | clock controller
15

## IPE SHELF
MERIDIAN IPE SHELF
slot | card type | part code | release
pe pwr | PE power supply
ring gen
0
1 |  |  |  |  | superloop
2 |  |  |  |  | shelf
3
4
5 |  |  |  |  | superloop
6 |  |  |  |  | shelf
7
controller
8
9 |  |  |  |  | superloop
10 |  |  |  |  | shelf
11
12
13 |  |  |  |  | superloop
14 |  |  |  |  | shelf
15
slot | card type | part code | release
pe pwr | PE power supply
ring gen
0
1 |  |  |  |  | superloop
2 |  |  |  |  | shelf
3
4
5 |  |  |  |  | superloop
6 |  |  |  |  | shelf
7
controller
8
9 |  |  |  |  | superloop
10 |  |  |  |  | shelf
11
12
13 |  |  |  |  | superloop
14 |  |  |  |  | shelf
15

## OPTION 51C.61C.81C
CORE FOR OPT51C / 61C / 81C
slot | card type | part code | release
pwr | CE power supply | NT6D41AB | 2
0 | 2MB DPRI | NTCK43AB | 10
1 | E-NET | QPC414C
2 | NET | NT8D04AA | 17
3 | DASS/DPNSS | NT5K35AA |  | CORE 0
4 | DPRI | NTCK43AB | 10
5 | CONF/TDS | NT8D17FA | 3
6
7 | DPRI | NTCK43AB | 10
8
9 | CC | QPC775F
10 | PERIPH SNL G | QPC43R
11 | 3PE | QPC441F
12 | CNI | NT6D65AA | 11
13
14
15 | CP68060/80MB | NT5D10EA | 7
16
17 | IODU/C | NT5D61BB | 3
18
19
slot | card type | part code | release
pwr | CE power supply | NT6D41AB | 2
0 | NET | NT8D04AA | 17
1 | CSL/EDSI | QPC513H
2 | DASS/DPNSS | NT5K35AA
3 | NET | NT8D04AA | 17
4 | E-NET | QPC414C |  | CORE 1
5 | CONF/TDS | NT8D17FA | 4
6 | NET | NT8D04BA | 3
7
8
9 | CC | QPC775F
10 | PERIPH SNL G | QPC43R
11 | 3PE | QPC441F
12 | CNI | NT6D65AA | 11
13
14
15 | CP68060/80MB | NT5D10EA | 7
16
17 | IODU/C | NT5D61AB | 4
18
19

## NETWEORK GROUP 71.81
NETWORK GROUP OPT 71/81/81C
slot | card type | part code | release
ce pwr | CE Power
1
2 |  |  |  | Net group
3 |  |  |  | shelf
4
5
6
7
8
9
10
11
12
13
14
15
ce pwr | CE Power
1
2 |  |  |  | Net group
3 |  |  |  | shelf
4
5
6
7
8
9
10
11
12
13
14
15

## NET SHELF
NETWORK GROUP OPT 71/81/81C
slot | card type | part code | release
ce pwr | CE Power | NT6D41AB | 2
1
2 |  |  |  | Net group
3 |  |  |  | shelf
4
5
6
7
8
9
10
11
12
13
14
15
ce pwr | CE Power
1
2 |  |  |  | Net group
3 |  |  |  | shelf
4
5
6
7
8
9
10
11
12
13
14
15

## OPTION 71 CORE
CPU FOR OPT 71
slot | card type | part code | release
pwr | CE power supply
1
2
3 | cma |  |  | CPU 0
4 | cpu interface
5 | cpu function |  |  | note--used for parallel reload only
6 | sdi (see note)
7 | msi/fdi
8
9
10
11
12
13 | sdi (see note)
14 | clock controller
15
slot | card type | part code | release
pwr | CE power supply
1
2
3 | cma
4 | cpu interface
5 | cpu function |  |  | CPU 1
6 | sdi (see note)
7 |  |  |  | note--used for parallel reload only
8
9
10
11
12
13 | sdi (see note)
14 | clock controller
15